赛瓦特SC250系列发电机组搭载东风康明斯6缸涡轮增压空空中冷发动机，提供50Hz与60Hz两种频率选择。常用功率覆盖180-182kW，备用功率达200kW，支持多电压等级输出。机组采用智能控制系统，标配LCD显示、多语言操作与远程监控功能，提供标准型、易动型及超静音型三种结构，满足工业、商业及应急供电等多种应用场景需求。可选配ATS自动切换与SWT并联系统，实现多机并网运行。

产品特点

- 高效节能动力：采用东风康明斯6缸涡轮增压空空中冷发动机，电子调速，燃油经济性好，运行稳定可靠。

- 智能人性控制：标配SWT智能控制器，配备LCD显示屏，支持多语言、参数监测、历史数据记录及远程通信，操作直观简便。

- 全面可靠保护：具备电压、电流、油压、水温、低油位等多重保护功能，确保机组安全稳定运行。

- 灵活多元配置：提供标准、易动、超静音三种机型；可选配ATS自动切换柜、并联系统及静音箱等丰富附件。

- 优异环保表现：超静音机型显著降低运行噪音，排放合规，适用于对噪音敏感的城市及居民区环境。

- 严苛出厂检验：每台机组均经过0%至110%的阶梯负载测试，确保出厂性能卓越，品质可靠。

Product Description

The SWT SC250 series generator sets are powered by Dongfeng Cummins 6-cylinder turbocharged and air-to-air intercooled engines, available in both 50Hz and 60Hz frequencies. With a prime power range of 180-182kW and standby power of 200kW, they support multiple voltage levels. Equipped with an intelligent control system featuring an LCD display, multi-language interface, and remote monitoring, these units come in Standard, Mobile, and Super-Silent models to meet various industrial, commercial, and emergency power needs. Optional ATS and SWT parallel systems enable multi-unit synchronization.

Product Features

- Efficient & Economical Power: Features Dongfeng Cummins 6-cylinder turbocharged, air-to-air intercooled engines with electronic governing for excellent fuel economy and reliable operation.

- Intelligent & User-Friendly Control: Standard SWT controller with LCD display supports multi-language operation, parameter monitoring, historical data logging, and remote communication.

- Comprehensive & Reliable Protection: Includes multiple protections for voltage, current, oil pressure, water temperature, and low fuel level to ensure safe and stable operation.

- Flexible & Versatile Configuration: Available in Standard, Mobile, and Super-Silent models. Optional ATS, parallel systems, and silent canopies offer extensive customization.

- Eco-Friendly Performance: Super-silent models significantly reduce operational noise and feature compliant emissions, ideal for noise-sensitive urban and residential areas.

- Rigorous Factory Testing: Each unit undergoes rigorous testing from 0% to 110% load to guarantee outstanding performance and reliable quality upon delivery.